## 2014 Elec 1 (hidden)
2014 BUILDING ELECTRICITY USAGE (kWh)
MONTH | Campus Total (GWh) | Bio Hub (D26 & C27) | Library (F21) | Chemical Sciences (F10) | Lowy (C25) | Law Building (F8) | Newton (J12) | Tyree (H6) | Mathews (F23) | Red Centre (H13) | Old Main (K15) | Campus Total PV | Tyree PV | Quad PV | Library PV
Jan | 6.5753 | 852773 | 843747 | 478692 | 408915 | 377854 | 246870 | 224663 | 219578 | 196756 | 194381 | 26570 | 21212 | 5358 | -
Feb | 6.3134 | 814691 | 748493 | 456917 | 386623 | 330557 | 262375 | 217712 | 212820 | 181427 | 192657 | 20034 | 16110 | 3924 | -
Mar | 7.4081 | 935933 | 845069 | 530085 | 423729 | 368233 | 284939 | 256054 | 261602 | 226072 | 220931 | 21977 | 17914 | 4063 | -
Apr | 6.6229 | 838825 | 753089 | 506550 | 354105 | 318720 | 251764 | 247944 | 223277 | 209590 | 203115 | 16550 | 13572 | 2978 | -
May | 6.8324 | 830589 | 725830 | 536700 | 361325 | 290358 | 253067 | 266865 | 236783 | 217391 | 217089 | 18978 | 15697 | 3281 | -
Jun | 6.4084 | 771830 | 639190 | 523870 | 340780 | 230275 | 246909 | 252239 | 208898 | 211995 | 203489 | 14742 | 12185 | 2557 | -
Jul | 6.5029 | 817308 | 548243 | 551493 | 340449 | 222611 | 251440 | 263775 | 215488 | 217814 | 208699 | 17699 | 14643 | 3056 | -
Aug | 6.8039 | 808304 | 543760 | 567928 | 325468 | 227805 | 244096 | 281198 | 231755 | 230860 | 223709 | 17868 | 14710 | 3158 | -
Sep | 6.4713 | 808608 | 545031 | 525680 | 334906 | 250777 | 239534 | 264076 | 234152 | 213012 | 222479 | 15878 | 11606 | 4272 | -
Oct | 6.7285 | 881057 | 569251 | 540036 | 361372 | 308506 | 257771 | 282528 | 239618 | 221795 | 223719 | 26110 | 21228 | 4882 | -
Nov | 6.6173 | 854282 | 616859 | 504169 | 373183 | 333242 | 262782 | 275028 | 254362 | 210019 | 221619 | 25729 | 20692 | 5037 | -
Dec | 6.2618 | 864723 | 588410 | 471441 | 380959 | 390024 | 179455 | 250904 | 206623 | 194175 | 198424 | 24861 | 19679 | 4956 | 226
TOTALS | 79.5462 | 10078923 | 7966972 | 6193561 | 4391814 | 3648962 | 2981002 | 3082986 | 2744956 | 2530906 | 2530311 | 246996 | 199248 | 47522 | 226
NOTES
This data set contains a selection of key UNSW building energy use and PV generation data for 2014
The campus total figure includes all energy used at the UNSW Kensington campus including energy generated on site
Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
The electricity usage profile of these major buildings peak in the summer (Cooling Driven)
Copyright © University of New South Wales
Intended for university use only

## 2014 Gas 1 (hidden)
2014 BUILDING GAS USAGE (GJ)
MONTH | Campus Total | Bio Hub (D26 & C27) | Lowy (C25) | Law Central Plant (F8) | Library (F21) | Chemical Sciences (F10) | Mathews (F23) | Tyree (H6) | Newton (J12) | Old Main
Jan | 5555 | 989 | 766 | 199 | 1226 | 304 | 20 | 45 | 224.9654 | 22.22
Feb | 5346 | 964 | 655 | 172 | 1107 | 287 | 29 | 38 | 3.0222 | 43.0653
Mar | 6244 | 1032 | 811 | 59 | 1129 | 311 | 133 | 35 | 0 | 58.0962
Apr | 6724 | 1006 | 799 | 532 | 1424 | 242 | 162 | 55 | 0 | 23.4759
May | 8242 | 1035 | 962 | 866 | 1344 | 332 | 384 | 144 | 102.9194 | 20.093
Jun | 8787 | 1130 | 1087 | 1188 | 971 | 322 | 376 | 431 | 91.9485 | 4.2721
Jul | 9807 | 1304 | 1191 | 1689 | 620 | 322 | 479 | 605 | 70.3793 | 23.6967
Aug | 9823 | 1271 | 1231 | 1308 | 386 | 331 | 560 | 512 | 113.7247 | 96.7477
Sep | 8005 | 1054 | 1001 | 1118 | 317 | 326 | 507 | 286 | 70.0067 | 96.44
Oct | 6948 | 951 | 802 | 772 | 149 | 357 | 325 | 209 | 107.9702 | 47.6918
Nov | 5893 | 938 | 766 | 497 | 19 | 255 | 366 | 83 | 212.6283 | 68.3382
Dec | 4563 | 1019 | 801 | 327 | 21 | 253 | 212 | 31 | 199.6703 | 57.1433
TOTALS | 85937 | 12693 | 10872 | 8727 | 8713 | 3642 | 3553 | 2474 | 1197.235 | 561.2802
NOTES
This data set contains a selection of key UNSW building gas usage for 2014
The campus total figure includes all gas used at the UNSW Kensington campus
Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Copyright © University of New South Wales
Intended for university use only

## 2019 Gas
2019 BUILDING GAS USAGE (GJ)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total | 8616.3936 | 9009.5152 | 10676.7512 | 11784.2196 | 13338.7416 | 16138.9376 | 16133.9324 | 16258.8684 | 12693.4976 | 11587.1156 | 10792.1036 | 9712.1444 | 146742.2208 | This data set contains a selection of key UNSW building gas usage for 2018
Bio Sciences North (D26) | 97.1621 | 101.0683 | 187.3151 | 1465.3832 | 1445.5119 | 1160.2921 | 1146.6035 | 1163.8594 | 1261.7379 | 1267.9909 | 1231.7211 | 1352.051 | 11880.6964 | The campus total figure includes all gas used at the UNSW Kensington campus
Wallace Wurth (C27) | 639.2479 | 764.1644 | 939.1892 | 1025.5669 | 1481.0914 | 1295.7058 | 1246.9883 | 1224.4699 | 1092.8152 | 1192.2898 | 930.4795 | 1092.8147 | 12924.823
Bio Sciences South (E26) | 1325.5503 | 1277.5989 | 1344.1751 | 1318.7475 | 1172.7362 | 1269.8835 | 1099.6476 | 1090.356 | 1085.2568 | 1199.5712 | 1199.6571 | 1347.9083 | 14731.0886
Chemical Sciences (F10) | 146.7381 | 133.879 | 143.1225 | 150.7855 | 144.6412 | 114.3746 | 43.7732 | 43.7963 | 39.9957 | 36.1719 | 29.6961 | 44.6212 | 1071.5952 | As of 2019, Bio Hub is split into Bio Sciences North and Wallace Wurth
Hilmer (E10) | 615.9852 | 584.9578 | 820.1106 | 994.8679 | 1228.0712 | 1446.2585 | 1411.7468 | 1473.4697 | 1138.5978 | 911.7825 | 880.0914 | 834.2555 | 12340.195 | The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law (F8) - Inc. Central Plant | 294.1469 | 438.9654 | 454.1526 | 642.567 | 1122.3144 | 1585.4869 | 1609.6169 | 1641.8416 | 1067.2703 | 714.7257 | 571.1021 | 443.5139 | 10585.7037 | Matthews Building Gas use in 2019 includes tenancies
Library (F21) | 365.9529 | 260.0535 | 166.157 | 241.0725 | 290.6678 | 431.1295 | 398.8447 | 420.3345 | 324.7546 | 304.5792 | 277.3196 | 165.604 | 3646.4698 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Lowy (C25) | 159.8487 | 748.8213 | 887.4542 | 937.9452 | 1117.6764 | 1249.4076 | 1144.9631 | 1159.39 | 1126.2862 | 1020.9319 | 911.4287 | 813.0367 | 11277.1901
Mathews (F23)* | 196.9056 | 260.1668 | 352.8013 | 296.704 | 394.163 | 334.2246 | 377.0092 | 336.1055 | 319.231 | 324.7309 | 274.6031 | 223.9474 | 3690.5922 | Copyright © University of New South Wales
Newton (J12) | 295.8488 | 252.4269 | 265.7119 | 229.9839 | 176.8855 | 196.5288 | 152.8 | 154.6789 | 145.3757 | 182.9038 | 221.6969 | 188.8971 | 2463.7382 | Intended for university use only
Old Main (K15) | 59.0233 | 48.0494 | 42.9041 | 31.9926 | 24.8589 | 23.7528 | 28.8543 | 21.6731 | 25.0849 | 38.9798 | 42.4354 | 45.7773 | 433.386
Samuels (F25) | 45.5255 | 26.786 | 30.4328 | 91.9155 | 84.3819 | 85.9259 | 87.9621 | 35.4515 | 65.4124 | 80.1259 | 39.995 | 34.4804 | 708.3948
SEB (E8) | 1050.7599 | 1193.1031 | 1177.0502 | 1190.0336 | 1468.9849 | 1915.9006 | 1734.9212 | 1641.0924 | 1180.1949 | 843.389 | 839.0257 | 904.6271 | 15139.0827
Tyree (H6) | 51.6521 | 71.6961 | 136.1456 | 158.117 | 164.824 | 388.1768 | 225.573 | 391.8618 | 306.7515 | 157.9628 | 257.1039 | 361.4441 | 2671.3087

## 2019 Elec
2019 BUILDING ELECTRICITY USAGE (kWh)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total (GWh)* | 8.742 | 7.99 | 8.9477 | 7.9391 | 7.7682 | 7.6201 | 7.8844 | 7.797 | 7.3244 | 8.0045 | 7.9651 | 7.6367 | 88.698 | This data set contains a selection of key UNSW building energy use and PV generation data for 2018
Ainsworth (J17) | 151086.095 | 136197.628 | 152793.339 | 138103.482 | 127145.84 | 112356.619 | 123359.22 | 117424.302 | 120217.492 | 142760.912 | 143254.42 | 120171.964 | 1584871.313 | The campus total figure includes all energy used at the UNSW Kensington campus including energy generated on site (excl. PV Generation)
Bio Sciences North (D26) | 28246.9488 | 40843.3398 | 168253.0194 | 254561.7391 | 252327.6841 | 232126.2326 | 234650.6973 | 230984.7448 | 255147.7241 | 277676.2885 | 282358.3339 | 332185.1341 | 2589361.8865
Bio Sciences South (E26) | 561168.647 | 477848.166 | 508069.454 | 435996.383 | 409126.198 | 378649.874 | 380802.236 | 384674.836 | 323269.36 | 508800.361 | 439584.4 | 468488.594 | 5276478.509
Wallace Wurth (C27) | 657624.4602 | 605284.1632 | 711940.6766 | 525747.5469 | 505707.9299 | 480998.2314 | 501420.6377 | 502700.3442 | 466423.5729 | 514333.8315 | 529254.1371 | 491840.2819 | 6493275.8135
Chemical Sciences (F10) | 466902.2917 | 436972 | 483440 | 461337 | 454918.1695 | 421701 | 453405 | 422949 | 405708 | 433297 | 423386 | 324697 | 5188712.4612 | As of 2019, Bio Hub is split into Wallace Wurth & Bio Sciences North
MSEB/Hilmer (E10) | 591737.025 | 496221.93 | 582803.875 | 502014.233 | 471215.556 | 426617.262 | 412439.104 | 413880.809 | 429234.208 | 462699.056 | 505257.174 | 513079.98 | 5807200.212 | The Law building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law Building (F8) | 75834 | 67439 | 97970 | 90389 | 85979 | 93461 | 99243 | 95131 | 90742 | 97970 | 100777 | 81845 | 1076780 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Library (F21) | 321199.717 | 294134.351 | 327566.6686 | 315345.027 | 355099.8 | 338216.146 | 344300.404 | 351764.796 | 333328.634 | 355918.827 | 319337.257 | 308350.471 | 3964562.0986
Lowy (C25) | 518924 | 420230 | 468148 | 423762 | 391677 | 353688 | 380099 | 385001 | 385891 | 416265 | 406324 | 417448 | 4967457 | Copyright © University of New South Wales
Mathews (F23) | 262453.4275 | 236504.0378 | 267126.5748 | 224615.5785 | 234647.9099 | 222766.8927 | 222249.4585 | 247224.3848 | 246275.795 | 261855.57 | 246859.3817 | 225736.621 | 2898315.6321 | Intended for university use only
Newton (J12) | 302880.825 | 279679.147 | 315743.357 | 290509.101 | 286404.146 | 269805.051 | 262209.13 | 268335.058 | 249064.485 | 275893.96 | 265929.006 | 265565.7503 | 3332019.0163
Old Main (K15) | 356548.568 | 335459.376 | 379514.147 | 326760.649 | 327814.593 | 362849.773 | 427650.858 | 409597.108 | 390743.714 | 419914.767 | 426816.697 | 403159.941 | 4566830.191
Red Centre (H13) | 193543 | 175864 | 206385 | 191148 | 182671 | 197811 | 206764 | 207122 | 177902 | 180803 | 171300 | 165322 | 2256635
Samuels (F25) | 137948.764 | 122787.51 | 139248.344 | 123006.748 | 118571.109 | 103239.723 | 104661.465 | 103454.372 | 98243.442 | 107166.551 | 108872.843 | 108706.12 | 1375906.991
SEB (E8) | 494426.58 | 450658.653 | 441694.044 | 372678.042 | 338701.497 | 335950.267 | 346811.34 | 338614.679 | 351648.669 | 409464.656 | 430231.249 | 434212.9733 | 4745092.6493
SIRF (G23) | 214730 | 215202 | 233074 | 216774 | 242118 | 243673 | 235068 | 227046 | 192984 | 201046 | 190520 | 187318 | 2599553
Tyree (H6) | 322193 | 311798 | 329133 | 272562 | 284178 | 259512 | 277061 | 288643 | 275806 | 308386 | 352951 | 329824 | 3612047
Campus Total PV (kWh) | 116999.138 | 101706.11 | 76093.207 | 76734.674 | 72981.199 | 46737.835 | 70287.314 | 83749.9 | 101346.474 | 133411.845 | 142001.446 | 130290.4503 | 1152339.5923
TETB | 19052 | 11764 | 2886 | 15776 | 14898 | 9659 | 14461 | 16480 | 17816 | 18544 | 20698 | 18788 | 180822
Quadrangle | 15541.157 | 13347.125 | 10763.232 | 5545.1 | 7974.268 | 4700.955 | 8432.484 | 9855.178 | 11555.468 | 15828.979 | 16752.385 | 15551.296 | 135847.627
Fitness and Aquatic Centre | 1199 | 1065 | 935 | 926 | 820 | 515 | 797 | 966 | 1080 | 1302 | 1295 | 1226 | 12126
Library Stage 2 | 16652.825 | 14299.6 | 11827.029 | 10792.697 | 9163.521 | 6059.969 | 9014.402 | 10670.345 | 12778.219 | 16365.826 | 16592.379 | 15410.213 | 149627.025
Morven Brown | 19022.779 | 16282.815 | 13348.55 | 11845.332 | 9747.774 | 6460.035 | 9531.852 | 11576.174 | 14418.013 | 19043.364 | 20089.036 | 18624.2068 | 169989.9308
Old Main Building | 16966.266 | 14427.003 | 11967.628 | 10574.396 | 8908.3 | 6080.38 | 8734.281 | 10437.352 | 12835.181 | 17014.848 | 18090.333 | 16917.975 | 152953.943
Bio Sciences South | 14821.692 | 12322.027 | 10333.74 | 8980.629 | 7154.746 | 4844.87 | 6980.642 | 8660.638 | 11052.095 | 14924.401 | 15971.385 | 14627.268 | 130674.133
Bio Sciences North | 0 | 0 | 0 | 0 | 4273.003 | 1789.042 | 2622.096 | 3076.121 | 4016.144 | 5729.162 | 6230.406 | 5211.584 | 32947.558
SEB | 2594.102 | 8255.226 | 5910.873 | 5178.8 | 4229.458 | 2661.39 | 4082.822 | 5098.774 | 7052.159 | 12934.747 | 13721.901 | 12295.1115 | 84015.3635
Elec Eng | 11149.317 | 9943.314 | 8121.155 | 7115.72 | 5812.129 | 3967.194 | 5630.735 | 6929.318 | 8743.195 | 11724.518 | 12560.621 | 11638.796 | 103336.012
Note on C22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PV down 18/2-20/3
Note on D22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PV down most the month
Note on K22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Array was down for a few days due to blackout.
Note on E23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Quadrangle fire issue

## 2018 Gas
2017 BUILDING GAS USAGE (GJ)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total | 7754.2576 | 7786.0348 | 9724.9484 | 9129.9892 | 12441.414 | 14485.7084 | 14753.5448 | 15193.11 | 12533.758 | 11502.26 | 9551.7452 | 7829.8788 | 132686.6492 | This data set contains a selection of key UNSW building gas usage for 2018
Bio Hub (D26 & C27) | 1000.6452 | 897.4433 | 835.9325 | 987.7328 | 1070.6296 | 1092.0633 | 1371.7316 | 1039.0063 | 803.185 | 886.3753 | 927.5945 | 992.9678 | 11905.3071 | The campus total figure includes all gas used at the UNSW Kensington campus
Bio Sciences South (E26) | 1296.3481 | 1113.0043 | 1256.4438 | 1234.5836 | 1245.9908 | 1426.5968 | 1285.5631 | 1239.8102 | 1243.1701 | 1369.6026 | 1288.0105 | 1392.4998 | 15391.6238
Chemical Sciences (F10) | 266.9486 | 220.3616 | 272.1986 | 246.3263 | 266.4629 | 267.2184 | 271.0654 | 278.0654 | 264.9057 | 268.6601 | 270.2867 | 245.5477 | 3138.0475 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 677.6667 | 655.2257 | 861.6741 | 794.6831 | 1048.2118 | 1541.2074 | 1863.6766 | 1731.4369 | 1162.7394 | 1056.6738 | 892.1622 | 1431.2426 | 13716.6004 | The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law (F8) - Inc. Central Plant | 295.0928 | 321.5963 | 285.7053 | 371.4323 | 1016.235 | 1657.6456 | 1790.1678 | 1566.1366 | 1074.2086 | 725.5187 | 471.6527 | 416.146 | 9991.5375 | Matthews Building Gas use in 2018 includes tenancies
Library (F21) | 288.9603 | 291.6191 | 403.0451 | 279.3127 | 589.3105 | 888.2099 | 758.2261 | 748.9392 | 618.5511 | 540.7077 | 235.5886 | 205.1853 | 5847.6556 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Lowy (C25) | 209.5811 | 973.7283 | 1053.6526 | 1037.7904 | 1261.4712 | 1348.3688 | 1416.705 | 1188.9033 | 1139.5541 | 1104.5345 | 1014.3418 | 972.8087 | 12721.4399
Mathews (F23)* | 264.1257 | 254.1898 | 372.339 | 326.4824 | 408.9623 | 346.507 | 270.9629 | 333.0166 | 300.7493 | 358.4765 | 282.6246 | 245.363 | 3763.7991 | Copyright © University of New South Wales
Newton (J12) | 202.8388 | 227.769 | 223.8744 | 220.3157 | 156.4499 | 161.9871 | 133.0944 | 138.1504 | 153.447 | 174.2434 | 237.1469 | 209.594 | 2238.9112 | Intended for university use only
Old Main (K15) | 53.573 | 48.7505 | 49.6492 | 46.9145 | 20.7074 | 21.1661 | 23.1132 | 20.5904 | 23.6986 | 31.0907 | 41.0153 | 42.5882 | 422.8571
Samuels (F25) | 21.341 | 46.2419 | 85.4376 | 87.1988 | 145.074 | 174.6918 | 165.4587 | 166.677 | 144.9562 | 120.8789 | 102.7015 | 88.947 | 1349.6044
Tyree (H6) | 196.8946 | 190.1875 | 350.6943 | 135.9914 | 519.373 | 922.0278 | 282.6986 | 455.0778 | 192.1148 | 165.5179 | 114.02 | 25.5948 | 3550.1924

## 2018 Elec
2017 BUILDING ELECTRICITY USAGE (kWh)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total (GWh)* | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 7.6097 | 88.698 | This data set contains a selection of key UNSW building energy use and PV generation data for 2018
Ainsworth (J17) | 132466.895 | 123399.002 | 149387.134 | 135493.695 | 131673.428 | 107534.208 | 107517.001 | 123443.897 | 117068.896 | 129793.562 | 131661.817 | 111109.162 | 1500548.697 | The campus total figure includes all energy used at the UNSW Kensington campus including energy generated on site (excl. PV Generation)
Bio Hub (D26 & C27) | 624712.949 | 624712.949 | 624712.949 | 557746.085 | 613185.001 | 554748.115 | 584723.16 | 625904.167 | 580449.372 | 618879.946 | 619408.622 | 624953.736 | 7254137.051
Bio Sciences South (E26) | 491740.298 | 428373.193 | 467901.021 | 422711.066 | 377406.174 | 350454.683 | 346239.546 | 357590.507 | 358312.286 | 413575.113 | 403346.47 | 452235.381 | 4869885.738
Chemical Sciences (F10) | 473892 | 436486 | 493088 | 479022 | 505638 | 481576 | 487749 | 503899 | 476850 | 492379 | 470703 | 436986 | 5738268 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 444620.686 | 406201.495 | 515931.083 | 502411.523 | 456190.719 | 408163.664 | 430618.204 | 432024.42 | 428910.168 | 491546.871 | 492530.149 | 526244.874 | 5535393.856 | The Law building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law Building (F8) | 515852 | 428668 | 477259 | 386565 | 276384 | 234013 | 238604 | 222698 | 246078 | 305623 | 318785 | 350745 | 4001274 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Library (F21) | 555258 | 512314 | 571139 | 509641 | 445463 | 377805 | 377394 | 390267 | 364218 | 408900 | 423798 | 392774 | 5328971
Lowy (C25) | 501727 | 441371 | 486064 | 456049 | 425933 | 392360 | 404424 | 408528 | 398124 | 425422 | 435979 | 460043 | 5236024 | Copyright © University of New South Wales
Mathews (F23) | 261537.513 | 253584.938 | 299637.762 | 270749.077 | 269993.61 | 243811.936 | 255531.608 | 281341.595 | 238727.397 | 246521.366 | 245964.885 | 243539.033 | 3110940.72 | Intended for university use only
Newton (J12) | 287581.696 | 289923.905 | 319936.794 | 302725.096 | 297387.659 | 273252 | 275156.364 | 279512.696 | 277348.278 | 304049.577 | 293570.666 | 237841.842 | 3438286.573
Old Main (K15) | 337979.144 | 334075.993 | 360453.045 | 329543.714 | 317282.974 | 339177.813 | 342963.031 | 348785.327 | 317128.385 | 331516.919 | 334979.487 | 332868.184 | 4026754.016
Red Centre (H13) | 170811 | 161289 | 192483 | 179113 | 196042 | 194565 | 185871 | 197764 | 188614 | 199959 | 173587 | 163236 | 2203334
Samuels (F13) | 98409.966 | 93509.141 | 103037.816 | 110967.212 | 102009.05 | 98567.625 | 103181.065 | 115203.224 | 108337.88 | 121375.751 | 123357.767 | 116441.027 | 1294397.524
SIRF (G23) | 181806 | 174829 | 213472 | 191269 | 173345 | 185538 | 165146 | 155038 | 165736 | 187291 | 165971 | 175722 | 2135163
Tyree (H6) | 314313 | 321968 | 371576 | 339130 | 353059 | 300040 | 311807 | 343826 | 326659 | 330899 | 348202 | 281414 | 3942893
Campus Total PV | 96462.436 | 87664.416 | 82848.667 | 61258.36 | 54405.97 | 44306.293 | 67655.553 | 74595.56 | 89860.9499 | 91014.7541 | 111320.268 | 123346.001 | 984739.228
Bio Sciences South PV | 12499.384 | 11683.949 | 11033.297 | 8673.302 | 6944.685 | 4844.458 | 6830.638 | 7754.075 | 10495.483 | 11364.452 | 14267.921 | 16325.059 | 122716.703
Library PV | 17650.816 | 15579.917 | 14413.081 | 11593.515 | 9926.453 | 6629.158 | 10144.096 | 11659.481 | 13692.77 | 13833.798 | 16643.551 | 18387.054 | 160153.69
Morven Brown PV | 19072.01 | 16347.473 | 15476.548 | 12179.196 | 10029.556 | 6718.017 | 10051.021 | 11866.799 | 14958.3769 | 14961.0061 | 18334.504 | 20742.178 | 170736.685
Old Main PV | 17192.6 | 15784.559 | 14381.287 | 11533.168 | 9441.829 | 6548.939 | 9752.1 | 10371.062 | 12308.814 | 14123.069 | 17197.324 | 19351.626 | 157986.377
Quad PV | 13789.626 | 11913.518 | 11075.454 | 9555.179 | 8411.83 | 5570.934 | 8746.331 | 10091.155 | 11448.46 | 11184.297 | 14815.193 | 16947.462 | 133549.439
Tyree PV | 16258 | 16355 | 16469 | 7724 | 6238 | 10003 | 16277 | 15797 | 18122 | 16631 | 18778 | 20184 | 178836
Electrical Engineering PV | 0 | 0 | 0 | 0 | 3413.617 | 3991.787 | 5854.367 | 7055.988 | 8835.046 | 8917.132 | 11283.775 | 11408.622 | 60760.334

## 2017 Gas
2017 BUILDING GAS USAGE (GJ)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total | 6191.5488 | 5618.628 | 7510.3608 | 8473.532 | 11124.4644 | 13241.9356 | 13700.9008 | 13199.4496 | 9597.4128 | 9057.2004 | 8527.3088 | 7445.526 | 113688.268 | This data set contains a selection of key UNSW building gas usage for 2017
Bio Hub (D26 & C27) | 1123.7848 | 1018.5725 | 1210.6283 | 1110.472 | 1283.7544 | 1436.8907 | 1467.273 | 1333.0026 | 1042.5904 | 635.9179 | 931.4416 | 998.6894 | 13593.0175 | The campus total figure includes all gas used at the UNSW Kensington campus
Bio Sciences South (E26) | 0 | 0 | 0 | 0 | 669.4843 | 1484.3969 | 1154.3005 | 1080.0101 | 862.7803 | 1336.0651 | 1254.0595 | 1320.5931 | 9161.6899
Chemical Sciences (F10) | 229.714 | 227.8021 | 273.9284 | 264.9005 | 244.4239 | 261.4851 | 286.1943 | 274.2984 | 312.4299 | 271.2532 | 260.9917 | 266.2419 | 3173.6635 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 630.8028 | 585.5469 | 707.2939 | 680.829 | 789.7168 | 1022.5501 | 1308.977 | 1222.8622 | 828.6675 | 659.6321 | 604.5867 | 750.0194 | 9791.4845 | The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law (F8) - Inc. Central Plant | 271.9933 | 295.97 | 377.0746 | 550.3084 | 903.5604 | 1395.122 | 1613.4567 | 1398.5142 | 784.0623 | 452.2428 | 424.4113 | 305.4528 | 8772.1687 | Matthews Building Gas use in 2017 includes tenancies
Library (F21) | 409.4357 | 368.9132 | 371.4334 | 350.4003 | 553.5396 | 843.1688 | 1122.1061 | 1196.7914 | 895.193 | 549.9071 | 525.1959 | 266.6307 | 7452.7152 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Lowy (C25) | 1043.624 | 522.3867 | 867.5436 | 714.8046 | 839.5583 | 986.9178 | 1204.0106 | 1196.5008 | 981.3238 | 1037.6468 | 1010.06 | 1105.3878 | 11509.7647
Mathews (F23)* | 334.046 | 305.7537 | 499.651 | 441.8686 | 630.8741 | 377.1744 | 266.5606 | 368.8008 | 305.0981 | 380.7008 | 342.8244 | 289.8801 | 4543.2327 | Copyright © University of New South Wales
Newton (J12) | 92.9088 | 92.9088 | 61.8632 | 64.2176 | 60.4391 | 68.4464 | 74.8256 | 77.6681 | 119.4804 | 238.4328 | 227.87 | 131.333 | 1310.394 | Intended for university use only
Old Main (K15) | 62.1632 | 55.6083 | 50.979 | 27.2999 | 18.6752 | 25.7196 | 37.4237 | 33.3018 | 23.2924 | 27.7213 | 31.9872 | 40.8946 | 435.0662
Samuels (F25) | 14.8916 | 52.5278 | 89.0769 | 26.089 | 29.1235 | 102.6878 | 127.8029 | 121.7411 | 84.5378 | 61.4759 | 67.6118 | 25.4686 | 803.0345
Tyree (H6) | 5.1652 | 35.2313 | 42.3238 | 105.8482 | 311.1458 | 325.0225 | 260.9585 | 255.4079 | 55.1983 | 126.8945 | 294.2625 | 148.4804 | 1965.939

## 2017 Elec
2017 BUILDING ELECTRICITY USAGE (kWh)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total (GWh)* | 7.363 | 7.1642 | 7.9627 | 6.8746 | 7.361 | 7.0287 | 7.0528 | 7.4054 | 6.9643 | 7.4127 | 7.145 | 6.9705 | 86.705 | This data set contains a selection of key UNSW building energy use and PV generation data for 2017
Ainsworth (J17) | 129330.983 | 134808.423 | 153526.507 | 120601.417 | 131365.754 | 109108.387 | 96404.888 | 118150.952 | 117268.837 | 135165.549 | 121812.441 | 105741.792 | 1473285.93 | The campus total figure includes all energy used at the UNSW Kensington campus including energy generated on site (excl. PV Generation)
Bio Hub (D26 & C27) | 856340.6539 | 874113 | 962985 | 792386.0718 | 886563.2267 | 663916.345 | 715299.264 | 713002.8703 | 675744.0185 | 678027.862 | 634020.884 | 619525.7134 | 9071924.9097
Bio Sciences South (E26) | 0 | 0 | 0 | 0 | 387774.89 | 354529.84 | 333197.02 | 350009.463 | 355385.037 | 436435.05 | 427167.204 | 481866.736 | 3126365.24
Chemical Sciences (F10) | 482727 | 455248 | 512886 | 481838 | 500014 | 479853 | 482454 | 494258 | 475129 | 492981 | 467299 | 432569 | 5757256 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 414516.942 | 407886.763 | 446095.149 | 345637.586 | 339515.024 | 317168.846 | 301837.993 | 320346.882 | 313710.633 | 358732.893 | 351549.25 | 395760.119 | 4312758.08 | The Law building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law Building (F8) | 495646 | 468632 | 503687 | 289735 | 274380 | 227107 | 218889 | 239763 | 256863 | 347521 | 362293 | 462595 | 4147111 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Library (F21) | 576657.904 | 510695.88 | 572573.08 | 416663.4 | 493100 | 506266 | 441149 | 472888 | 467981 | 522490 | 526099 | 508863 | 6015426.264
Lowy (C25) | 441036 | 426856 | 441053 | 356326 | 370041 | 356608 | 392313 | 403347 | 402161 | 446404 | 449905 | 476435 | 4962485 | Copyright © University of New South Wales
Mathews (F23) | 256469.523 | 254239.947 | 297224.194 | 242735.209 | 281373.603 | 249986.196 | 261389.806 | 278403.304 | 257548.379 | 254463.043 | 243408.408 | 241224.264 | 3118465.876 | Intended for university use only
Newton (J12) | 301191.056 | 304486.7 | 331186.914 | 302215.386 | 307375.8 | 274330.366 | 273444.514 | 271349.717 | 275680.493 | 298307.89 | 280890.96 | 233976.11 | 3454435.906
Old Main (K15) | 274901.844 | 269142.363 | 303454.697 | 255628.064 | 280556.85 | 307384.498 | 325122.228 | 307641.419 | 306163.983 | 329112.891 | 320746.513 | 310320.49 | 3590175.84
Red Centre (H13) | 184191 | 167074 | 188295 | 171012 | 192156 | 194358 | 187993 | 196522 | 175302 | 184252 | 177765 | 162107 | 2181027
Samuels (F13) | 137965 | 132405.824 | 139507.7516 | 110903.9734 | 112484.527 | 101724.979 | 112334.567 | 118386.411 | 115673.537 | 124414.952 | 108159.459 | 81973.757 | 1395934.738
SIRF (G23) | 117560 | 138043 | 173738 | 150802 | 139536 | 130952 | 175874 | 162165 | 140122 | 172321 | 157012 | 167665 | 1825790
Tyree (H6) | 292041 | 297787 | 335941 | 301360 | 344461 | 314313 | 327286 | 338738 | 302060 | 302370 | 304533 | 288731 | 3749621
Campus Total PV | 54673.297 | 49639.087 | 46636.029 | 61089.912 | 55162.512 | 37905.145 | 59310.663 | 72054.167 | 85957.407 | 91518.683 | 104991.786 | 98527.339 | 817466.027
Bio Sciences South PV | 0 | 0 | 0 | 0 | 5549.71 | 4869.91 | 7380.07 | 9817.539 | 12135.631 | 13031.93 | 15699.685 | 14225.45 | 82709.925
Library PV | 17821.254 | 14618.283 | 7857.993 | 12002.565 | 9947.794 | 5742.135 | 9987.918 | 9906.225 | 13463.404 | 15931.041 | 18568.191 | 17785.468 | 153632.271
Morven Brown PV | 18874.043 | 15456.804 | 11359.46 | 12429.113 | 10000.378 | 6507.886 | 9783.35 | 12840.396 | 15808.15 | 16867.907 | 19766.981 | 19250.697 | 168945.165
Old Main PV | 0 | 3809 | 10174.5 | 10759.5 | 9677.28 | 6354.62 | 9599.095 | 12217.422 | 14535.373 | 15664.68 | 18320.468 | 16447.58 | 127559.518
Quad PV | 0 | 0 | 4778.076 | 10994.734 | 9420.35 | 5970.594 | 8508.23 | 10481.585 | 12150.849 | 12825.125 | 14357.461 | 13934.144 | 103421.148
Tyree PV | 17978 | 15755 | 12466 | 14904 | 10567 | 8460 | 14052 | 16791 | 17864 | 17198 | 18279 | 16884 | 181198

## 2016 Gas
2016 BUILDING GAS USAGE (GJ)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total | 5874.126 | 6000.1484 | 7110.876 | 7388.4512 | 8888.9248 | 10209.444 | 11712.5948 | 11634.5292 | 8920.896 | 7940.1096 | 6396.6844 | 4621.08 | 91276.9522 | This data set contains a selection of key UNSW building gas usage for 2016
Bio Hub (D26 & C27) | 702.3915 | 772.7292 | 742.1615 | 927.5222 | 1148.3983 | 1250.2432 | 1392.4958 | 1217.6917 | 1031.538 | 1021.1173 | 972.2632 | 1029.2109 | 12207.7627 | The campus total figure includes all gas used at the UNSW Kensington campus
Chemical Sciences (F10) | 272.9261 | 301.6442 | 295.5537 | 189.1463 | 231.2868 | 329.2136 | 414 | 416.737 | 262.6132 | 276.8272 | 248.641 | 242.0648 | 3480.6541 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 765.7407 | 1011.3087 | 743.2995 | 753.9186 | 710.349 | 707.2288 | 842.8541 | 1013.1339 | 536.2674 | 417.9219 | 358.5625 | 210.392 | 8070.9771 | The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law (F8) - Inc. Central Plant | 296 | 229.822 | 375.2243 | 466.5055 | 939.487 | 1074.7127 | 1645.0659 | 1543.9936 | 808.5016 | 677.2848 | 321.8741 | 218.1035 | 8596.5749
Lowy (C25) | 523.6894 | 756.8745 | 858.4093 | 888.9846 | 985.6151 | 965.4614 | 754.5756 | 763.8478 | 815.803 | 842.5468 | 793.2738 | 956.7255 | 9905.8068
Mathews (F23) | 143.6466 | 192.4351 | 202.1674 | 212.7668 | 310.3729 | 475.1557 | 506.2158 | 318.7811 | 228.944 | 183.2113 | 257.3092 | 235.0571 | 3266.0629 | Copyright © University of New South Wales
Newton (J12) | 217.9441 | 279.2486 | 274.9596 | 251.4488 | 183.0815 | 190.049 | 178.867 | 226.0749 | 474.4808 | 140.593 | 35.26 | 0 | 2452.0072 | Intended for university use only
Old Main (K15) | 43.9917 | 46.3545 | 43.7682 | 26.4466 | 28.8211 | 21.6085 | 48.3604 | 49.2657 | 40.3367 | 42.9504 | 65.7576 | 51.8069 | 509.4682
Tyree (H6) | 100.683 | 87.5772 | 133.3702 | 145.7051 | 301.7405 | 672.0935 | 893.5806 | 717.1156 | 306.8286 | 234.2074 | 87.7314 | 12.1035 | 3692.7366
Note: 2016 total campus use values were updated in FEB 2018

## 2016 Elec
2016 BUILDING ELECTRICITY USAGE (kWh)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total (GWh) | 6.927 | 7.2759 | 7.9172 | 7.0746 | 7.0671 | 6.7414 | 6.7638 | 7.1876 | 6.7408 | 6.8577 | 6.9282 | 6.5188 | 84.0003 | This data set contains a selection of key UNSW building energy use and PV generation data for 2016
Ainsworth (J17) | 109936.1 | 119643.434 | 138714.638 | 127831.231 | 122466.459 | 107725.447 | 100106.089 | 114799.824 | 116018.466 | 120337.157 | 116038.958 | 98874.606 | 1392492.409 | The campus total figure includes all energy used at the UNSW Kensington campus including energy generated on site
Bio Hub (D26 & C27) | 859271.9 | 875197.858 | 924528.483 | 820274.055 | 831628.107 | 772084.3246 | 797529.396 | 808718.8331 | 796147.53 | 817947.85 | 860238.582 | 856340.6539 | 10019907.5726
Chemical Sciences (F10) | 513554 | 504854 | 542796 | 529253 | 538845 | 503251 | 512096 | 532388 | 501143 | 501607 | 481544 | 454405 | 6115736 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 366429 | 373176.427 | 400936.216 | 342853.908 | 320983.318 | 295711.285 | 303640.228 | 309783.684 | 296040.948 | 297923.729 | 322698.782 | 307109.879 | 3937287.404 | The Law building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law Building (F8) | 454908 | 517793 | 502287 | 342155 | 270832 | 239001 | 242343 | 259483 | 259038 | 301501 | 365580 | 403239 | 3754921 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Library (F21) | 574102 | 577528.816 | 622038.16 | 563670.944 | 548131.968 | 513582.896 | 480251.168 | 488726.808 | 521365.12 | 512086.872 | 531290.08 | 503236.152 | 5932774.832
Lowy (C25) | 414715 | 410628 | 437654 | 382352 | 368825 | 355764 | 366709 | 382555 | 374058 | 385142 | 386576 | 408620 | 4673598 | Copyright © University of New South Wales
Mathews (F23) | 123827.932 | 220902.003 | 244484.34 | 221559.3623 | 252336.625 | 229397.582 | 230955.231 | 260660.83 | 249072.946 | 254098.681 | 249719.396 | 236914.451 | 2773929.3793 | Intended for university use only
Newton (J12) | 239316 | 274873 | 289726.952 | 265392.96 | 253002.976 | 234930.104 | 240968.912 | 240674.048 | 232671.288 | 268982 | 282766.588 | 235692.356 | 3058997.184
Old Main (K15) | 251837.686 | 283270.201 | 291078.491 | 259766.874 | 284648.829 | 277355.06 | 285937.428 | 282296.9 | 283266.61 | 268357.757 | 269334.641 | 260949.654 | 3298100.131
Red Centre (H13) | 170234 | 170776 | 197267.048 | 183110.04 | 193886.024 | 191317.904 | 187456.08 | 207881.952 | 178814 | 192534 | 182582 | 171501 | 2227360.048
Tyree (H6) | 283385 | 308892 | 318532 | 301498 | 320298 | 300390 | 305903 | 319395 | 305274 | 320247 | 321122 | 292852 | 3697788
Campus Total PV | 39167.99 | 42157.723 | 45720.932 | 37660.698 | 37342.608 | 26551.767 | 31780.638 | 39150.933 | 47530.95 | 62824.063 | 66392.142 | 55871.924 | 532152.368
Library PV | 16474.99 | 17760.755 | 14592.917 | 11021.025 | 10026.282 | 7169.696 | 8675.804 | 10721.455 | 13625.657 | 18444.199 | 20113.985 | 18148.237 | 166775.002
Morven Brown PV |  |  | 9228.031 | 9228.673 | 9867.278 | 6985.079 | 8463.882 | 10984.478 | 13935.253 | 19274.856 | 21229.157 | 19198.687 | 128395.374
Quad PV | 4176 | 4318.968 | 3793.984 | 2952 | 2690.048 | 1908.992 | 1933.952 | 2344 | 2783.04 | 3627.008 | 3480 | 0 | 34007.992
Tyree PV | 17349 | 18777 | 16972 | 13528 | 13876 | 9864 | 11948 | 14171 | 16111 | 20128 | 20189 | 17310 | 190223
Note on M19: Old system replaced by new system which is yet to be connected

## 2015 Gas
2015 BUILDING GAS USAGE (GJ)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total | 3626 | 4194 | 5397 | 7845 | 9738 | 12097 | 13756 | 12197 | 11098 | 8844 | 6505 | 5673 | 100970 | This data set contains a selection of key UNSW building gas usage for 2015
Bio Hub (D26 & C27) | 657 | 509 | 527 | 627 | 612 | 707 | 1125 | 901 | 752 | 660 | 618 | 647 | 8342 | The campus total figure includes all gas used at the UNSW Kensington campus
Chemical Sciences (F10) | 264 | 230 | 294 | 265 | 269 | 300 | 315 | 317 | 299 | 296 | 240 | 261 | 3350 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 2015 BUILDING GAS USAGE (GJ) Jul: 1147; 2015 BUILDING GAS USAGE (GJ) Aug: 1117.6501; 2015 BUILDING GAS USAGE (GJ) Sep: 977.612; 2015 BUILDING GAS USAGE (GJ) Oct: 817.0826; 2015 BUILDING GAS USAGE (GJ) Nov: 536.633; 2015 BUILDING GAS USAGE (GJ) Dec: 665.8447 | 5261.8225 | The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law (F8) - Inc. Central Plant | 344 | 260 | 450 | 1051 | 1484 | 1867 | 2376 | 1644 | 828 | 645 | 454 | 327 | 11730 | Data for the new Hilmer (E10) added in 2015
Lowy (C25) | 706 | 681 | 737 | 775 | 882 | 908 | 915 | 902 | 861 | 813 | 763 | 823 | 9766
Mathews (F23) | 237 | 264 | 357 | 367 | 439 | 458 | 332 | 385 | 406 | 289 | 275 | 192 | 4001 | Copyright © University of New South Wales
Newton (J12) | 218 | 229 | 263 | 231 | 314 | 170 | 141 | 108 | 36 | 242 | 211 | 184 | 2347 | Intended for university use only
Old Main | 68 | 72 | 68 | 41 | 45 | 1 | 1 | 14 | 33 | 3 | 4 | 0 | 350
Tyree (H6) | 79 | 48 | 112 | 217 | 415 | 610 | 720 | 459 | 350 | 90 | 73 | 49 | 3222

## 2015 Elec
2015 BUILDING ELECTRICITY USAGE (kWh)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total (GWh) | 6.9022 | 6.8114 | 7.6304 | 6.7975 | 7.123 | 6.8288 | 6.9206 | 7.0873 | 6.6963 | 7.0307 | 6.8931 | 6.4318 | 83.1532 | This data set contains a selection of key UNSW building energy use and PV generation data for 2015
Bio Hub (D26 & C27) | 796893 | 684764 | 646347 | 646725 | 637208 | 591160 | 619742 | 616639 | 634170 | 788912 | 830757 | 825351 | 8318668 | The campus total figure includes all energy used at the UNSW Kensington campus including energy generated on site
Chemical Sciences (F10) | 494558 | 474932 | 533663 | 518680 | 545198 | 499737 | 533675 | 536079 | 486222 | 508544 | 495642 | 471861 | 6098791 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Hilmer (E10) | 196784.9 | 283860.127 | 249837.359 | 259442.618 | 244303.142 | 254477.106 | 264045.414 | 297267.864 | 296336.416 | 337382.213 | 318846.509 | 343070.978 | 3345654.646 | The Law building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Law Building (F8) | 472858 | 410557 | 457036 | 355454 | 341338 | 277286 | 275835 | 284105 | 256588 | 368075 | 351071 | 338761 | 4188964 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Library (F21) | 638257 | 568209 | 644246 | 556794 | 604560 | 563304 | 525626 | 526396 | 522731 | 582182 | 586555 | 535097 | 6853957 | Data for the new Hilmer (E10) added in 2015
Lowy (C25) | 415462 | 392097 | 397237 | 344265 | 347106 | 323280 | 335884 | 339590 | 326242 | 371650 | 367063 | 380557 | 4340433
Mathews (F23) | 215475 | 211913 | 254462 | 218437 | 219027 | 213472 | 216603 | 227060 | 218689 | 226198 | 205970 | 85809 | 2513115 | Copyright © University of New South Wales
Newton (J12) | 246774 | 276331 | 297063 | 268250 | 220276 | 269006 | 252771 | 243759 | 239900 | 243271 | 264912 | 189633 | 3011946 | Intended for university use only
Old Main (K15) | 220982 | 218253 | 259885 | 221370 | 200651 | 229225 | 219736 | 217025 | 227626 | 235534 | 221513 | 205678 | 2677478
Red Centre (H13) | 205765 | 194409 | 221445 | 197256 | 184289 | 205833 | 168990 | 236900 | 196556 | 191895 | 182326 | 158794 | 2344458
Tyree (H6) | 260579 | 254826 | 287469 | 275421 | 292338 | 274948 | 287844 | 283802 | 277562 | 293872 | 285694 | 260878 | 3335233
Campus Total PV | 30995 | 37406 | 35265 | 25532 | 25094 | 20954 | 26451 | 32296 | 38310 | 40488 | 38494 | 45617 | 396902
Library PV | 5515 | 15550 | 13981 | 9640 | 9023 | 7510 | 9447 | 11859 | 14830 | 16551 | 16467 | 19970 | 150343
Quad PV | 5004 | 4186 | 3859 | 2795 | 2762 | 2260 | 2779 | 3375 | 4242 | 4252 | 4133 | 4997 | 44644
Tyree PV | 20476 | 17670 | 17425 | 13097 | 13309 | 11184 | 14225 | 17062 | 19238 | 19685 | 17894 | 20650 | 201915

## 2014 Gas
2014 BUILDING GAS USAGE (GJ)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total | 5555 | 5346 | 6244 | 6724 | 8242 | 8787 | 9807 | 9823 | 8005 | 6948 | 5893 | 4563 | 85937 | This data set contains a selection of key UNSW building gas usage for 2014
Bio Hub (D26 & C27) | 989 | 964 | 1032 | 1006 | 1035 | 1130 | 1304 | 1271 | 1054 | 951 | 938 | 1019 | 12693 | The campus total figure includes all gas used at the UNSW Kensington campus
Chemical Sciences (F10) | 304 | 287 | 311 | 242 | 332 | 322 | 322 | 331 | 326 | 357 | 255 | 253 | 3642 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Law (F8) - Inc. Central Plant | 199 | 172 | 59 | 532 | 866 | 1188 | 1689 | 1308 | 1118 | 772 | 497 | 327 | 8727 | The Law Building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Lowy (C25) | 766 | 655 | 811 | 799 | 962 | 1087 | 1191 | 1231 | 1001 | 802 | 766 | 801 | 10872
Mathews (F23) | 20 | 29 | 133 | 162 | 384 | 376 | 479 | 560 | 507 | 325 | 366 | 212 | 3553 | Copyright © University of New South Wales
Newton (J12) | 224.9654 | 3.0222 | 0 | 0 | 102.9194 | 91.9485 | 70.3793 | 113.7247 | 70.0067 | 107.9702 | 212.6283 | 199.6703 | 1197.235 | Intended for university use only
Old Main | 22.22 | 43.0653 | 58.0962 | 23.4759 | 20.093 | 4.2721 | 23.6967 | 96.7477 | 96.44 | 47.6918 | 68.3382 | 57.1433 | 561.2802
Tyree (H6) | 45 | 38 | 35 | 55 | 144 | 431 | 605 | 512 | 286 | 209 | 83 | 31 | 2474

## 2014 Elec
2014 BUILDING ELECTRICITY USAGE (kWh)
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTALS | NOTES
Campus Total (GWh) | 6.5753 | 6.3134 | 7.4081 | 6.6229 | 6.8324 | 6.4084 | 6.5029 | 6.8039 | 6.4713 | 6.7285 | 6.6173 | 6.2618 | 79.5462 | This data set contains a selection of key UNSW building energy use and PV generation data for 2014
Bio Hub (D26 & C27) | 852773 | 814691 | 935933 | 838825 | 830589 | 771830 | 817308 | 808304 | 808608 | 881057 | 854282 | 864723 | 10078923 | The campus total figure includes all energy used at the UNSW Kensington campus including energy generated on site
Chemical Sciences (F10) | 478692 | 456917 | 530085 | 506550 | 536700 | 523870 | 551493 | 567928 | 525680 | 540036 | 504169 | 471441 | 6193561 | Due to the lack of submetering Wallace Wurth & Bio Sciences are represented by the combined Bio Hub figure.
Law Building (F8) | 377854 | 330557 | 368233 | 318720 | 290358 | 230275 | 222611 | 227805 | 250777 | 308506 | 333242 | 390024 | 3648962 | The Law building figure includes the Law Central Energy Plant which provides heating and cooling to the Law Building, Tyree, Chemical Science, Dalton & ASB. Due to the lack of submetering energy data from the Law plant cannot be disaggregated
Library (F21) | 843747 | 748493 | 845069 | 753089 | 725830 | 639190 | 548243 | 543760 | 545031 | 569251 | 616859 | 588410 | 7966972 | The Library building figure includes the Library Central Energy Plant which provides heating and cooling to the Central Lecture Block & Morven Brown Tennancies. Due to the lack of submetering energy data from the central plant cannot be disaggregated
Lowy (C25) | 408915 | 386623 | 423729 | 354105 | 361325 | 340780 | 340449 | 325468 | 334906 | 361372 | 373183 | 380959 | 4391814
Mathews (F23) | 219578 | 212820 | 261602 | 223277 | 236783 | 208898 | 215488 | 231755 | 234152 | 239618 | 254362 | 206623 | 2744956 | Copyright © University of New South Wales
Newton (J12) | 246870 | 262375 | 284939 | 251764 | 253067 | 246909 | 251440 | 244096 | 239534 | 257771 | 262782 | 179455 | 2981002 | Intended for university use only
Old Main (K15) | 194381 | 192657 | 220931 | 203115 | 217089 | 203489 | 208699 | 223709 | 222479 | 223719 | 221619 | 198424 | 2530311
Red Centre (H13) | 196756 | 181427 | 226072 | 209590 | 217391 | 211995 | 217814 | 230860 | 213012 | 221795 | 210019 | 194175 | 2530906
Tyree (H6) | 224663 | 217712 | 256054 | 247944 | 266865 | 252239 | 263775 | 281198 | 264076 | 282528 | 275028 | 250904 | 3082986
Campus Total PV | 26570 | 20034 | 21977 | 16550 | 18978 | 14742 | 17699 | 17868 | 15878 | 26110 | 25729 | 24861 | 246996
Library PV | 2014 BUILDING ELECTRICITY USAGE (kWh) Dec: 226 | 226
Quad PV | 5358 | 3924 | 4063 | 2978 | 3281 | 2557 | 3056 | 3158 | 4272 | 4882 | 5037 | 4956 | 47522
Tyree PV | 21212 | 16110 | 17914 | 13572 | 15697 | 12185 | 14643 | 14710 | 11606 | 21228 | 20692 | 19679 | 199248